## abstruct
ESTABLISHMENT OF UNIVERSITY OF TURBAT
Turbat Town (South-West of Baluchistan) in
District Kech
Construction & Installation of fabricated rooms at Uot panjgur campus
S.No | Description |  |  | Amount
1 | Civil works |  | 787360.4067
2 | Electrification
3 | Plumbing
4 | Sokage pit
Gross Total=

## TS
ESTABLISHMENT OF UNIVERSITY OF TURBAT
District Kech
TECHNICAL SANCTION
Construction & Installation of fabricated rooms at Uot panjgur campus
Estimated Cost Rs:

## Civil
B.O.Q
Construction & Installation of fabricated rooms at Uot panjgur campus
Civil works
S.no | Description | Qty | Unit | Rate | Amount
1 | EARTH WORKS Excavation in foundation of Buildings, bridges, & other structure i/c dabbling around the structure SI.NO 3-21+3-23-1/ P-28
| plinth beam | 1629.8 | Cft
2 | Providing & laying 1:4:8 cement concrete using shingle or bajri 19mm (3/4)" and down guage SI.NO 5-11(c)/P-51
| plinth beam | 296.57 | Cft
3 | Supplying and filling earth from approved outside sources including breaking clods, levelling, dressing watering, consolidating and compacting in 15 cm layers to obtain required density including all lead & lifts etc. complete in all respect as per specification, drawings and direction of the engineer.
|  | 6561.94 | Cft
SUB STRUCTURE
4 | Providing and laying Plain cement concrete class"D" (1:3:6) having a minimum cylindrical strength of 10 MPA at 28 days, where required using approved quality 25mm maximumsize graded crush stone and fine aggrregate including approved formwork as specified and its removel, all operations of mechanically, vibrating ,levelling, consolidating and curing etc upto any height specification & relevant drawings and all works to be carried out the satisfication the site engineer.
0
| plinth beam | 881.69 | Cft
SUPER STRUCTURE
5 | Providing and laying Plain cement concrete class"D" (1:3:6) having a minimum cylindrical strength of 10 MPA at 28 days, where required using approved quality 25mm maximumsize graded crush stone and fine aggrregate including approved formwork as specified and its removel, all operations of mechanically, vibrating ,levelling, consolidating and curing etc upto any height specification & relevant drawings and all works to be carried out the satisfication the site engineer.
| plinth beam | 881.69 | Cft
6 | P/L 1:3:6 cement concrete B/M 12" (300 mm) thick solid block masonry & down using graded screened crushed stone 19mm (3/4") gauge in G. floor super structure including scaffolding, raking outjoints and curing. SI.NO 9-2/d-ii
| steps | 623 | Cft
7 | Plain 1:3 screed for leveling minimum 50mm thick including curing, making ridges, valleys, champhered edges, hacking and chipping of existing surface for bonding where necessary, etc.
classrooms ( 20' x 28') Pad
offices (18' x 13') + Bathroom (6'x 6') Pad
|  | 5846 | Sft
External plaster
8 | 19mm (3/4") thick cement plaster with1:4 cement sand mortar on walland column in basement,plinth and groundfloor including making edges, corner and curing. SI.NO 15-4(iii)
classrooms ( 20' x 28') Pad
offices (18' x 13') + Bathroom (6'x 6') Pad
|  | 1122 | Sft
9 | 19mm (3/4") thick cement plaster with1:4 cement sand mortar on walland column in basement,plinth and groundfloor including making edges, corner and curing. SI.NO 15-4(iii)
| tred | 623 | Sft
| riser | 311.5 | Sft
10 | Providing and installation approved design prefabricated structure with steel structure upto any height, including exterior and internel cladding, melamine door, upvc allumunium windows,360-degree sound insulation,wooden laminated flooring,pvc roofing,internel and external painting , includes electric and plumbing fixtures and other finishes complete in all respect as per the directions of engineer in charge.
| classrooms ( 20' x 28') | 5 | job
11 | Providing and installation approved design prefabricated structure with steel structure upto any height, including exterior and internel cladding, melamine door, upvc allumunium windows,360-degree sound insulation,wooden laminated flooring,pvc roofing,internel and external painting , includes electric and plumbing fixtures and other finishes complete in all respect as per the directions of engineer in charge.
offices (18' x 13') + Bathroom (6'x 6')
|  | 5 | job
TOTAL=

## Electrical
B.O.Q
Construction & Installation of fabricated rooms at Uot panjgur campus
Electrification
S.no | Description | Qty | Unit | Rate | Amount
1 | ELECTRIFICATION Supply, laying, termination and commissioning of of following copper conductor cable in already laid PVC conduit/cabletray/trench as per specifications complete in all respects. 4 Core-CU/PVC/PVC Cable (600/1000V)
16 sqmm
|  | 370 | Rft
CONDUITS & PIPES
2 | Providing and laying of following size Upvc class D/E conduit for LV power Feeders from Substation,Buried in ground/under road/under floor asper specification Including excavation for laying of conduit,bricks,and backfilling with warning tape and fresh soil etc.,as shown on the drawing, complete in all respect.
50 mm dia Upvc
|  | 350 | Rft
Total=

## Plumbing
B.O.Q
Construction & Installation of fabricated rooms at Uot panjgur campus
Plumbing
S.no | Description | Qty | Unit | Rate | Amount
1 | Supply and fixing of water supply UPVC 2" dia pipe, including all accessaries and jointing materials complete in all respect as per the directions of engineer in charge.
|  | 380 | Rft
2 | Supply and fixing of sewarage UPVC 3" dia pipe, including all accessaries and jointing materials such as elbow, tee, complete in all respect.
|  | 34 | Rft
3 | Supply and fixing of sewarage UPVC 4" dia pipe, including all accessaries and jointing materials such as elbow, tee, complete in all respect.
| Bath | 17 | Rft
4 | Supply and fixing of sewarage UPVC 6" dia pipe, including all accessaries and jointing materials such as elbow, tee, complete in all respect.
|  | 120 | Rft
5 | P/20mm(1") dia GI Pipe manufictured by ILL or Equivalent line including the cost of specials at the of work including staking.
|  | 125 | Rft
6 | P/F gun-metal peet/gate valve class 150 15mm (1/2") diasuperior quality of approved make.
| Bath | 5 | Nos
7 | Providing mainhole type 'A' size 600mm x 450mm(24" x 18") (inside dimentions) x 600mm(24") deep as per approveddesign and specifications complete for 100mm to 300mm(4" to 12") dia pipes upto 1.19m (3'-11") depth 400mm dia (16") (inside) cast iron cover and frame (weight=1 cwt. 1 Qr.)(63.5 kg) fixed in RCC 1:2:4 slab 100mm (4") thick masonary walls 225mm(9") thick set in 1:3 cement mortar, 150mm(6") 1:3:6 cement concrete in foundation, 1:2:4 cement concrete in benching average 100mm (4") thick and 13mm(.5") cement plaster in 1:3 cement mortar, to all inside wall surfaces, channels and benching including making requisite number of main and branch channel but excluding cost of excavation, backfilling and disposal of excavated stuff.
|  | 5 | Nos
8 | Providing and fixing fiberglass overhead tanks 500 gallon capacity manufactured by Zamrock or equivalent on top of any floor.
|  | 3 | Nos
9 | Providing and installation of electric water motor pump 1 HP with all fixtures complete in all respect.
|  | 1 | Nos
TOTAL=

## sokage pit
B.O.Q
Construction & Installation of fabricated rooms at Uot panjgur campus
Sokage pit
S.no | Description | Qty | Unit | Rate | Amount
SOKAGE PIT
1 | Excavation of well in dry and under water level and disposal of soil within 100 ft. (30m or one chain)
| S.I No. 26-1 bi upto 1.5 m (5’) | 120 | Cft
| S.I No. 26-1 bii Above 1.5 m to 3 m (5 to 10 ft) depth | 120 | Cft
| S.I No. 26-1 bi Above 3 m to 4.5 m (10 to 15 ft) depth | 120 | Cft
| S.I No. 26-1 biv Above 4.5 m to 6 m (15 to 20 ft) depth | 120 | Cft
| safety wall | 45.32 | Cft
2 | P/L 1:3:6 cement concrete B/M 200 mm thick & down using graded screened crushed stone 19mm (3/4") gauge in G. floor super structure including scaffolding, raking outjoints and curing. SI.NO 9-7/cii
| Safety wall | 90.64 | Sft
3 | 19mm (3/4") thick cement plasterwith1:4 cement sand mortar on walland column in basement,plinth and groundfloor including making edges, corner and curing. external plaster SI.NO 15-4(iii)
|  | 38 | Sft
4 | Providing, fabricating and laying deformed Grade 40 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings. S.I No. 5-44 a
| Roof Slab #4 @6" c/c | 0.04 | ton
5 | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge Top slab upto 6" (150 mm) thick in underground tank including formwork and its removal, compacting and curing. S.I No. 5-22 c
|  | 19.53 | Cft
TOTAL=